## BOQ
Mobile Interim Company 2 S.A.L
MIC 2
Justice core site -Estimated BOQ
# | Description | Unit | Estimated Qty | U/Price $ | Total $ | Remarks
1 | Civil works
1 | Demolition works (aluminum walls,false ceiling,duct,..) | L.S | 1 |  |  | in case needed
2 | Complete reparation and waterproofing of all windows and doors | L.S | 1 |  |  | in case needed
3 | supply and installation of Gypsum double partition wall withh fire rated boards manufactured according to ASTM C- 36 , 12.5mm thick and rockwool filled as per RFP | M2 | 100 |  |  | in case needed
4 | Plastering as per RFP | M2 | 50 |  |  | in case needed
5 | Painting as per RFP | M2 | 50 |  |  | in case needed
6 | supply and insallation of False suspended ceiling similar to the exisiting one as per RFP | M2 | 150 |  |  | in case needed
7 | obsolete cables dismantling and transportation to MIC2 warehouse | L.S | 1 |  |  | in case needed
8 | Supply and installation of fire rated door (2 hours) as per RFP | each | 1 |  |  | in case needed
9 | Supply and installation of raised floor panels (tiles 60x60 cm) as per RFP (including pedestals and stringers repairing) | each | 200 |  |  | in case needed
10 | Supply and installation of raised floor pereforated panels (tiles 60x60 cm) as per RFP | each | 30 |  |  | in case needed
11 | Supply and installation of external waterproofing | M2 | 50 |  |  | in case needed
12 | Supply and installation of fresh air damper wiith all related ducts and accessories | L.S | 2 |  |  | in case needed
2 | Mechanical Works
1 | Replacement for the Cyclone filters of the 650 KVA existing generators | L.S | 1
2 | Supply and installation of generators monitoring system as per RFP | L.S | 1
3 | Electrical Works (refer to RFP)
1 | Supply & installation of HDG cable tray 30cm as per RFP | L.m | 150 |  |  | in case needed
2 | Supply and installation of fiber runners with all related acessories | L.m | 150 |  |  | in case needed
3 | Supply & installation of HDG cable basket 30cm as per RFP | each | 20 |  |  | in case needed
4 | Supply & installation of outlet sockets (32A) | each | 50 |  |  | in case needed
5 | Supply and installation of new LED lighting lamps as per the RFP (Swap exisiting NEON lamp) | each | 5 |  |  | in case needed
6 | Supply and installation of a new emergency light similar to the exisiting | each | 1 |  |  | in case needed
7 | Supply & installation of grounding system (connection) | L.m | 1 |  |  | in case needed
8 | Supply & installation of power cable (1x35mm) cable for batteries | L.m | 500 |  |  | in case needed for rectifier's batteries
9 | Supply & installation of power cable (3x16mm+N) cable NYM as per RFP | L.m | 100 |  |  | in case needed
10 | Supply & installation of power cable (3x10mm+N) cable NYM as per RFP | L.m | 150 |  |  | in case needed
11 | Supply & installation of power cable (3x6mm+N) cable NYM as per RFP | L.m | 100 |  |  | in case needed
12 | Supply & installation of power cable (2x10mm) cable as per RFP | L.m | 200 |  |  | in case needed
13 | Supply & installation of power cable (2x2.5mm) cable as per RFP | L.m | 100 |  |  | in case needed
14 | Grounding cables 1x240mm | L.m | 400 |  |  | in case needed
15 | Grounding cables 1x10mm | L.m | 150 |  |  | in case needed
16 | Grounding cables 1x4mm | each | 100 |  |  | in case needed
17 | Supply & installation of redundant Tier 3 ATS 1000 amp solution system with complete cabling as per the RFP | each | 2
18 | Supply and installation of ATS 200A as per the SLD | each | 1
19 | Supply and installation of ATS 63A as per the SLD | each | 1
20 | supply and installation of Industrial sockets (32A) as per RFP | each | 32
21 | supply and installation of Industrial sockets (16A) as per RFP | each | 32
22 | Supply of spare parts requested in Appendix 1 (ATS section, related to new installation only) | L.S | 1
4 | Precision A/C, comforter AC
1 | Supply & installation of Precision A/C 15 TONS with adequate connection to power source as per RFP and control connection between indoor and outdoor unit | each | 9 |  |  | With 4x50A breaker
2 | Supply and installation of complete mechanical fittings for precision units(copper piping,control cable , cable trays, insulation where needed) | L.m. | 900 |  |  | relief valve to be covered
3 | Supply & installation of split duct type A/C unit 5T as per RFP | each | 5 |  |  | with insulated drainange pans
4 | Supply and installation of complete mechanical fittings for split type units(copper piping,control cable , ducts, diffusers, grills, cable trays, insulation where needed) | L.m. | 150 |  |  | where needed
5 | Supply and installation on units drainage system 1" PVC (connection with the exisiting one) | L.m | 100
6 | Dismantling of 5 old precision units and 8x5T units and transportation to MIC 2 warehouse | L.S | 1
7 | Complete Relocation of 1x10T precision unit | L.S | 1
8 | Supply of spare parts requested in Appendix 1 (cooling section) | L.S | 1
5 | Fire Protection
1 | supply & installation of FM200 fire cylinder with 464 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
2 | supply & installation of FM200 fire cylinder with 259 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
3 | supply & installation of FM200 fire cylinder with 216 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
4 | supply & installation of FM200 fire cylinder with 176 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
5 | supply & installation of FM200 fire cylinder with 147 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
6 | supply & installation of FM200 fire cylinder with 90 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
7 | supply & installation of FM200 fire cylinder with 70 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
8 | supply & installation of FM200 fire cylinder with 68 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
9 | supply & installation of FM200 fire cylinder with 49 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
10 | Connection of all trouble alarms panels with NOC | each | 1
11 | Integrity test execution | each | 1
6 | UPS
1 | Supply & installation of modular UPS system (120 kW) with complete cabling from the source (MDB breaker) to the last terminal (PDU or UPSDB) as per the RFP | each | 2
2 | Supply & installation of UPS battery banks with adequate calculation of 15 min autonomy on 100 kW load as per the RFP | each | 2
3 | Supply and installation of batteries steel frame for 120 kW UPS | each | 2 |  |  | in case needed
4 | Supply and installation of UPSDB for 120 kW UPSwith complete adequate cabling. Input breaker size to be selected as per UPS manufacturer recommendation DB type 1B wall mounted panel (96 modules with minimum 48 breakers (1x32A,10kA) and 18 breakers (1x16A,10kA)) Factory assembled, equipped with phase indicating lights; bottom cable entry only | each | 2 |  |  | 2 different colors (charcoal satin and blue for example)
5 | Supply & installation of high standard smart UPS 0U PDUs (with at least 20xC13, 4x C19 outlets with complete cabling from the source PDF to the last terminal (including server cables where needed) | each | 24
6 | Supply & installation of UPS system (40 kW)and with complete cabling from the source (MDB breaker) to the last terminal (PDU or UPSDB) as per the RFP | each | 2
7 | Supply of spare parts as per Appendix 1 (UPS section) | L.S | 1
TOTAL